Quality Assurance Program

We have compiled a list of our procedures for the utmost protection and X-ray quality.

- Established a repeat exposure log.

- Light tight dark room to reduce fog.

- Monthly maintenance of chemistry for developer.

- Use of 400 speed film to reduce exposure.

- Replaced used screens in cassettes over 5 years if scratched or damaged.

- Reduction of sources of extraneous light

  - Appropriate functioning Safe Light.

  - Appropriate distance of Safe Light from film handling area.

  - Removal of glow-in-the-dark wrist watches.

- We always use collimator and periodically check collimator and stability of positioning.

- Use of L (left) and R (right) markers for preciseness of reading extra oral film.

- Only licensed dentists or qualified auxiliary personnel take films in our office.

- D.E.P. Notice of Employees is posted in the dark room.

- Type of radiographs taken is recorded in the patient’s chart.

- All X-rays are evaluated by a licensed dentist in our office.

- Processing Protocol

  - Turn unit on

  - Warm to proper temperature

  - Open cassettes in dark room with lights out, safe light on with fan

  - Place film in developer as directed

  - Finish processing and replace films in cassettes