Quality Assurance Program
We have compiled a list of our procedures for the utmost protection and X-ray quality.

1. Established a repeat exposure log.

2. Light tight dark room to reduce fog.

3. Monthly maintenance of chemistry for developer.

4. Use of 400 speed film to reduce exposure.

5. Replaced used screens in cassettes over 5 years if scratched or damaged.

6. Reduction of sources of extraneous light

a) Appropriate functioning Safe Light.

b) Appropriate distance of Safe Light from film handling area.

c) Removal of glow-in-the-dark wrist watches.

7. We always use collimator and periodically check collimator and stability of positioning.

8. Use of L (left) and R (right) markers for preciseness of reading extra oral film. 

9. Only licensed dentists or qualified auxiliary personnel take films in our office.

10. D.E.P. Notice of Employees is posted in the dark room.

11. Type of radiographs taken is recorded in the patient’s chart.

12. All X-rays are evaluated by a licensed dentist in our office.

13. Processing Protocol

a) Turn unit on

b) Warm to proper temperature

c) Open cassettes in dark room with lights out, safe light on with fan

d) Place film in developer as directed

e) Finish processing and replace films in cassettes
